## Slide 1: ASR GENERATION: GENERATING POWER DURING THE INJECTION CYCLE OF AN ASR PROJECT
PRESENTED BY:
KENT MADISON
OWNER – 3R VALVE, LLC
&
MATTHEW JOHNSON, P.E.
OWNER – WAPITI CONSULTING, LLC.

## Slide 2: WHAT IS AR AND ASR?
Aquifer recharge (AR) and aquifer storage and recovery (ASR) are manmade processes or natural processes enhanced by humans that convey water underground. The processes replenish ground water stored in aquifers for beneficial purposes. Although AR and ASR are often used interchangeably, they are separate processes with distinct objectives. AR is used solely to replenish water in aquifers. ASR is used to store water, which is later recovered for use.
www.epa.gov/uic/aquifer-recharge-and-aquifer-storage-and-recovery

## Slide 3: AR AND ASR POWER REGENERATION
During aquifer recharge or aquifer storage process, the pumping motor is allowed to run in reverse therefore converted to a generator.
  Works in both submersible pumps and above ground vertical line shaft applications.
Motor starting requirements:
  VFD (Variable Frequency Drive), Soft Starter, Across the Line
Power regeneration requirements:
  VFD (Variable Frequency Drive) Regeneration Drive

## Slide 4: BENEFITS OF AR AND ASR POWER REGENERATION DURING AQUIFER INJECTION
Reduce net kilowatt hours paid for pumping municipal, industrial or agricultural water.
Reduce consumer electrical grid footprint.
Existing installations have shown a quick payback on capital investments.
Overall public perception.
Possible utility credit.

## Slide 5: REGENERATION EXAMPLE 1 : AQUIFER INJECTION
MOTOR STARTER (VFD)
POWER REGERATION VFD
SHALLOW AQUIFER
DEEP AQUIFER
CONSUMER
WELL PUMP
WELL PUMP
UTILITY
MOTOR STARTER (VFD)

## Slide 6: REGENERATION EXAMPLE 1 : AQUIFER RECOVERY
SHALLOW AQUIFER
DEEP AQUIFER
CONSUMER
WELL PUMP
WELL PUMP
UTILITY
MOTOR STARTER (VFD)
POWER REGERATION VFD

## Slide 7: REGENERATION EXAMPLE 2 : AQUIFER INJECTION
DEEP AQUIFER
CONSUMER
WELL PUMP
WASTEWATER SECONDARY TERTIARY TREATMENT WATER
UTILITY
MOTOR STARTER (VFD)
POWER REGERATION VFD

## Slide 8: REGENERATION EXAMPLE 2 : AQUIFER RECOVERY
MOTOR STARTER (VFD)
POWER REGERATION VFD
DEEP AQUIFER
CONSUMER
WELL PUMP
UTILITY
WASTEWATER SECONDARY TERTIARY TREATMENT WATER

## Slide 9: REGENERATION EXAMPLE 3 : AQUIFER INJECTION
WARM AQUIFER
WATER TO AIR HEAT EXCHANGER
IN AC MODE
WELL PUMP
COLD AQUIFER
UTILITY
MOTOR STARTER (VFD)
POWER REGERATION VFD
MOTOR STARTER (VFD)

## Slide 10: REGENERATION EXAMPLE 3 : AQUIFER RECOVERY
WARM AQUIFER
WELL PUMP
UTILITY
COLD AQUIFER
WATER TO AIR HEAT EXCHANGER IN HEATING MODE
MOTOR STARTER (VFD)
POWER REGERATION VFD
MOTOR STARTER (VFD)

## Slide 11: REGENERATION EXAMPLE 4 : AQUIFER INJECTION
DEEP AQUIFER
CONSUMER
WELL PUMP
WASTEWATER SECONDARY TERTIARY TREATMENT WATER
UTILITY
MOTOR STARTER (VFD)
POWER REGERATION VFD
ASR VALVE
OPEN 1-50 %
SPIN MOTOR
ASR VALVE
OPEN 51-100 %
SPIN MOTOR & AQUIFER INJECTION

## Slide 12: REGENERATION EXAMPLE 4 : AQUIFER RECOVERY
DEEP AQUIFER
CONSUMER
UTILITY
WASTEWATER SECONDARY TERTIARY TREATMENT WATER
WELL PUMP
ASR VALVE
CLOSED 100 %
FOR PUMPING (RECOVERY)
MOTOR STARTER (VFD)
POWER REGERATION VFD

## Slide 13: MADISON FARMS ECHO, OREGON ASR REGENERATION
200 HP MOTOR STARTING VFD & 100 HP REGENERATION VFD WITH LOCAL CONTROL PANEL.
200 HP MOTOR WITH VERTICAL LINE SHAFT PUMP – 8” PIPE, AQUIFER LEVEL 520 FEET BELOW LAND SURFACE.

## Slide 14: 200 HP MOTOR STARTING DRIVE (VFD) – RIGHT 100 HP POWER REGENERATION DRIVE (VFD) - LEFT

## Slide 15: MADISON FARMS : SHALLOW WELL AND DEEP WELL ASR REGENERATION

## Slide 16: LOCAL CONTROL PANEL HMI SCREEN NO. 1

## Slide 17: LOCAL CONTROL PANEL HMI SCREEN NO. 2

## Slide 18: LOCAL CONTROL PANEL HMI SCREEN NO. 3

## Slide 20: CITY OF PENDLETON,OREGON WELL NO. 14
WELL NO. 14
  100 HP MOTOR
  100 HP VFD STARTER
  100 HP VFD REGENERATION DRIVE
  12” PIPING
  AQUIFER LEVEL 277 FEET
  BELOW LAND SURFACE
WELL DATA PROVIDED BY
TIM SMITH
WATER DEPARTMENT SUPERINTENDENT

## Slide 28: CONCLUSIONS
ASR POWER REGENERATION HAS THE ABILITY TO RECOVER OR RECAPUTURE CAPITAL INVESTMENTS.
ASR POWER REGENERATION IS A VALUED INVESTMENT FOR ANY NEW OR EXISTING ASR WELL SITE.
ASR POWER REGENERATION WILL REDUCE THE TOTAL POWER CONSUMPTION WHEN USED WITH ADDITIONAL LOADS.

## Slide 29: QUESTIONS OR COMMENTS?
KENT MADISON
3R VALVE, LLC
WWW.3RVALVE.COM
KMADISON@EONI.COM
(541) 571-0581
MATTHEW JOHNSON, P.E.
WAPITI CONSULTING, LLC
WWW.WAPITI-CONSULTING.COM
208WAPITICONSULTING@GMAIL.COM
(208) 651-1120